### Circuit Analysis (Lab # 2)

### Experiment 2: Measurements of Waveforms and Fundamental Quantities, Basic resistive circuits.

Name: Muhammad Zia Ur Rehman Zahid		Registration No: 2025-CE-104

Date:  16-March-2026	Grade and Signature: ………………………

| CLO3 | Make measurements in their own constructed electric circuits. |  |  |  |
| --- | --- | --- | --- | --- |
| Psychomotor/Affective | Level1 (1) | Level2 (2-3) | Level3 (4-5) | Level4 (6-7) |
| Report Marks (3) |  |  | Total marks (10) |  |

_

Objectives: This experiment will provide exposure to measurements of waveforms and Fundamental Quantities, Basic resistive circuits. A primary purpose of this lab course is for you to master the use of electronic test equipment and measurement of fundamental quantities.

### Equipment required:

Power Supply, Breadboard, Oscilloscope, Signal Generator Connecting wires, Resistances, Multimeter.

Procedure

# Experiment # 1

## SIGNAL GENERATOR AND OSCILLOSCOPE

- Use the signal generator and the oscilloscope to perform the following tasks.

- Build circuit ‘A’ shown below in Figure 1.

- Set the signal generator to generate a sinusoidal signal with a frequency of 100 Hz and peak-to peak voltage of 5V.

- Set up one probe across input signal, and another across R1 and R2 alternatively.

- Measure and draw all the voltages and time related parameters on the graphs below.

Figure 1 Circuit ‘A’

| Resistor | Input voltage | RMS Voltage | P-P Voltage |
| --- | --- | --- | --- |
| R1 | 5V | 1.07V | 3.04V |
| R2 | 5V | 0.69V | 1.96V |

Frequency =100hz, Timeperiod =10ms

5V

0

-2.5V

-5V

20ms

15ms

10ms

5ms

5V

2.5V

2.5V

20ms

-5V

-2.5V

0

SCALE: horizontal box = 1ms, vertical box = 0.5v

15ms

10ms

5ms

Figure 2 Input Voltage Signal	Figure 3 Voltage Signal across R1

0

-2.5V

-5V

20ms

15ms

10ms

5ms

5V

2.5V

2.5V

5V

5ms

10ms

15ms

20ms

-5V

-2.5V

0

Figure 5 Voltage Signal across R2	Figure 6 Draw 7V Sinusoidal

# Experiment # 2

## SIGNAL GENERATOR AND OSCILLOSCOPE

- Use the signal generator and the oscilloscope to perform the following tasks.

- Build circuit ‘B’ shown below in Figure 7.

- Set the signal generator to generate a sinusoidal signal with a frequency of 200 Hz and peak-to peak voltage of 7V.

- Set up one probe across input signal, and another across R1, R2 and R3 alternatively.

- Measure and draw all the voltages and time related parameters on the graphs below.

Figure 7 Circuit ‘B’

| Resistor | Input voltage | RMS Voltage | P-P Voltage |
| --- | --- | --- | --- |
| R1 | 7V | 0.89V | 2.51V |
| R2 | 7V | 0.62V | 1.76V |
| R3 | 7V | 0.96V | 2.72V |
| R1 and R2 | 7V | 1.51V | 4.27V |
| R2 and R3 | 7V | 1.59V | 4.49V |

Frequency =200hz , Timeperiod =5ms

Scale: horizontal box = 1ms , Vertical box = 0.5v

2.5V

5V

5ms

10ms

15ms

20ms

-5V

-2.5V

0

0

-2.5V

-5V

20ms

15ms

10ms

5ms

5V

2.5V

Figure 8 Input Voltage Signal	Figure 9 Voltage Signal across R1

2.5V

5V

-5V

-2.5V

0

-2.5V

-5V

20ms

15ms

10ms

5ms

5V

2.5V

20ms

5ms

10ms

15ms

0

Figure 10 Voltage Signal across R2	Figure 11 Voltage Signal across R3

5V

2.5V

0

-5V

0

2.5V

5V

-2.5V

5ms

10ms

20ms

15ms

20ms

10ms

15ms

-5V

-2.5V

5ms

Figure 12 Voltage Signal across R1 and R2	Figure 13 Voltage Signal across R2 and R3

Post Lab Questions

- Define Ohm’s law.

Ohm’s Law states that the current flowing through a conductor is directly proportional to the voltage across it, provided temperature remains constant.

V=IR

- What is resistor?

A resistor is a passive electronic component that limits or opposes the flow of electric current in a circuit.
It is used to control voltage and current.

- How resistor works?

A resistor works by resisting the flow of electrons in a circuit.
When current passes through a resistor, some electrical energy is converted into heat, which reduces the current.

- What is your inference from the input and output waveforms on oscilloscope?

From the oscilloscope waveforms we observe that:

- The input signal is a sinusoidal wave.

- The output signals across resistors are also sinusoidal.

- The frequency and phase remain the same.

- Only the amplitude (voltage magnitude) decreases due to voltage division in series resistors.

- Show calculations of 7V input signal (Figure 10) from signal generator.

  - Voltage calculations (Following  volt/div  and number of boxes of oscilloscope)

  - Frequency/Period calculations (Following Steps in frequency measurements section)

  - Current calculation (Ohm Law)

Input signal:

- Vpp=7V

Peak voltage:

Vp=Vpp/2=3.5V

RMS voltage:

Vrms=Vpp/(2√2)V≈2.47

## a) Voltage Calculation (Oscilloscope)

Example:

If

Volt/div = 1V
Number of vertical divisions = 7

Vpp= (Volt/div) ×No. of divisions

Vpp=1×7=7V

## b) Frequency / Period Calculation

Signal generator frequency:

f=200Hz

Period formula:

T=1/f

=1/200

T=0.005s=5ms

## c) Current Calculation (Ohm’s Law)

Total resistance:

R1 = 4.7kΩ
R2 = 3.3kΩ
R3 = 5.1kΩ

RT=4.7kΩ+3.3kΩ+5.1kΩ=13.1kΩ

Using Ohm’s law:

I=V/R

=2.47/13.1k ≈0.000188A ≈0.188mA

Final Current ≈ 0.188 mA